## Slide 2: Colo Facility Guidelines and OCP Ready TM Assessment Revision Mark Dansie, OCP Ready TM Lead, OCP Foundation
DCF/MDC
DATA CENTER FACILITIES

## Slide 3: Introduction
Why were the guidelines created?
What is the purpose of the OCP Ready TM program?
Why are we revising these documents?
DATA CENTER FACILITIES

## Slide 4: Guidelines Revision Update
              Chapters
                Reference designs
                Appendices
DATA CENTER FACILITIES

## Slide 5: Existing Chapters
              Architectural
                Cooling
                Electrical Systems
DATA CENTER FACILITIES

## Slide 6: Architectural
Reference design for OCP Pods
DATA CENTER FACILITIES
Photo courtesy of Maincubes

## Slide 7: Cooling
DATA CENTER FACILITIES
Reference design for ACS
Immersion
Door HEX
Photo courtesy of Rittal
Photo courtesy of Submer

## Slide 8: Electrical Systems
Reference design for electrical architecture
DATA CENTER FACILITIES
SLD courtesy of Schneider Electric

## Slide 9: New Chapters
              Sustainability
                Safety and Compliance
                SLAs
DATA CENTER FACILITIES

## Slide 10: Appendices
                Highlight ‘Requirements’ matrix
                Add and retire rack types
                Add references to related sub-projects
                Add references to other OCP projects
DATA CENTER FACILITIES

## Slide 11: OCP Ready TM Site Assessment Revision Update
                Add Site Operations Standards to ‘Considerations’
                OCP CFOPS Framework
                BICSI 009-2019
                Other framework or standard
                Proprietary or in-house processes

## Slide 12
Questions?

## Slide 13: Call to Action
Links
    DCF Project
    DCF Mailing List
    Membership - How to Join
    Facility Recognition Program
    Marketplace
OCP Foundation Contacts OCP Ready TM Lead: mark.dansie@opencompute.org VP of Channel: steve.helvie@opencompute.org
Data Center Facility Project - Volunteer Leader Contacts​
    Project Lead: Jim.Gordon@ocproject.net​
    Incubation Committee Representative: Brevan.Reyher@ocproject.net​